SAMPLE EVALUATION OF BULK PURCHASE OF ORTHOPEDIC & OPHTHALMOLOGICAL IMPLANTS FOR THE YEAR 2017-18.

ORTHO IMPLANTS

| T.E #. | Name of Items | Quoted Specifications | Brand Name | Origin | Manufacturer | Remarks |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | DHS with Barrel Plate with Accessories | 4 to 10 hole |  |  |  |  |
|  | Shoiab Engineering & Technical Service | 4 to 10 hole | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Surgiquips Lahore | 4 to 10 hole |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 2 | DCS with Barrel Plate with Accessories | 8 to 20 hole |  |  |  |  |
|  | Shoiab Engineering & Technical Service | 8 to 20 hole | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Surgiquips Lahore | 8 to 20 hole |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 3 | 1/3rd tublar Plate | 5 to 8 hole |  |  |  |  |
|  | Mian Enterprises | 5 to 8 hole |  | Pak Made | Alam Madix | Non Responsive |
|  | Surgiquips Lahore | 5 to 8 hole |  | Pakistan | Esmico Trasing Co. | Non Responsive |
|  | Shoiab Engineering & Technical Service | 5 to 8 hole | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
| 4 | Inter Locking Nail for Femur full range, | With 9 to 14 cm width 32 to 44 cm |  |  |  |  |
|  | 3N-Lifemed | with 9 to 14cm width 32 to 44cm | Lifemed | Pakistan | 3N-Lifemed | Responsive |
|  | Shoiab Engineering & Technical Service | With 9 to 14 cm width 32 to 44 cm | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Mian Enterprises | With 9 to 14 cm width 32 to 44 cm |  | Pak Made | Alam Madix | Non Responsive |
|  | Surgiquips Lahore | With 9 to 14 cm width 32 to 44 cm |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 5 | Inter Locking Nail for Tibia full range, | With 8 to 14cm width 24 to 36 cm |  |  |  |  |
|  | 3N-Lifemed | with 8 to 14cm width 24 to 36cm | Lifemed | Pakistan | 3N-Lifemed | Responsive |
|  | Shoiab Engineering & Technical Service | With 8 to 14cm width 24 to 36 cm | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Mian Enterprises | With 8 to 14cm width 24 to 36 cm |  | Pak Made | Alam Madix | Non Responsive |
|  | Surgiquips Lahore | With 8 to 14cm width 24 to 36 cm |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 6 | Inter Locking Nail forHumrus full range with | 8 to 14cm width 18 to 28 cm |  |  |  |  |
|  | 3N-Lifemed | with 8 to 14cm width 18 to 28cm | Lifemed | Pakistan | 3N-Lifemed | Responsive |
|  | Shoiab Engineering & Technical Service | 8 to 14cm width 18 to 28 cm | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Mian Enterprises | 8 to 14cm width 18 to 28 cm |  | Pak Made | Alam Madix | Non Responsive |
|  | Surgiquips Lahore | 8 to 14cm width 18 to 28 cm |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 7 | Circlage Wire for Tenion Band Wiring. | 16 to 20 gauge |  |  |  |  |
|  | 3N-Lifemed | 16 to 20 gauge | Lifemed | Pakistan | 3N-Lifemed | Responsive |
|  | Shoiab Engineering & Technical Service | 16 to 20 gauge | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Mian Enterprises | 16 to 20 gauge |  | Pak Made | Alam Madix | Non Responsive |
|  | Surgiquips Lahore | 16 to 20 gauge |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 8 | A-wire | 0.5mm, 1mm, 1.5mm, 2mm, 2.5mm, 3mm,3.5mm |  |  |  |  |
|  | 3N-Lifemed | 0.5mm, 1mm, 1.5mm, 2mm, 2.5mm, 3.5mm | Lifemed | Pakistan | 3N-Lifemed | Responsive |
|  | Shoiab Engineering & Technical Service | 0.5mm, 1mm, 1.5mm, 2mm, 2.5mm, 3mm,3.5mm | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Surgiquips Lahore | 0.5mm, 1mm, 1.5mm, 2mm, 2.5mm, 3mm,3.5mm-ESMICO |  | Pakistan | Esmico Trasing Co. | Non Responsive |
|  | Mian Enterprises | 0.5mm, 1mm, 1.5mm, 2mm, 2.5mm, 3mm,3.5mm |  | Pak Made | Alam Madix | Non Responsive |
| 9 | Cannulated Screw of Diffferent Size (6.5mm) | 30mm to 110 mm long Fully Threaded 32 mm.16 mm width 6.5 mm 40 to 80 mm |  |  |  |  |
|  | Mian Enterprises | 30mm to 110 mm long Fully Threaded 32 mm.16 mm width 6.5 mm 40 to 80 mm |  | Pak Made | Alam Madix | Non Responsive |
|  | Surgiquips Lahore | 30mm to 110 mm long Fully Threaded 32 mm.16 mm width 6.5 mm 40 to 80 mm |  | Pakistan | Esmico Trasing Co. | Non Responsive |
|  | Shoiab Engineering & Technical Service | 30mm to 110 mm long Fully Threaded 32 mm.16 mm width 6.5 mm 40 to 80 mm | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
| 10 | AO Ex-Fix for Tibia, Famur, Radius, Ulna, Humrus full Range Schanz Screws. | 3mm,3.5 mm, 4.5mm, 5mm,20cm to 50 cm |  |  |  |  |
|  | 3N-Lifemed | 3mm, 3.5mm, 4.5mm, 5mm | Lifemed | Pakistan | 3N-Lifemed | Responsive |
|  | Shoiab Engineering & Technical Service | 3mm,3.5 mm, 4.5mm, 5mm,20cm to 50 cm | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Mian Enterprises | 3mm,3.5 mm, 4.5mm, 5mm,20cm to 50 cm |  | Pak Made | Alam Madix | Non Responsive |
|  | Surgiquips Lahore | Humerus 8 Calms + 4 Screws |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 11 | Ortho fix for distal radius fractures. | with 3.5 mm schanz screw |  |  |  |  |
|  | 3N-Lifemed | with 3.5mm schanz screw. | Lifemed | Pakistan | 3N-Lifemed | Responsive |
|  | Shoiab Engineering & Technical Service | with 3.5 mm schanz screw | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Mian Enterprises | with 3.5 mm schanz screw |  | Pak Made | Alam Madix | Non Responsive |
|  | Surgiquips Lahore | with 3.5 mm schanz screw |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 12 | Steiman Pins strip of different | size 3mm, 3.5mm, 4.5mm,5mm |  |  |  |  |
|  | 3N-Lifemed | 3mm, 3.5mm, 4.5mm, 5mm | Lifemed | Pakistan | 3N-Lifemed | Responsive |
|  | Shoiab Engineering & Technical Service | size 3mm, 3.5mm, 4.5mm,5mm | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Mian Enterprises | size 3mm, 3.5mm, 4.5mm,5mm |  | Pak Made | Alam Madix | Non Responsive |
|  | Surgiquips Lahore | size 3mm, 3.5mm, 4.5mm,5mm |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 13 | NA Fixater with full range | (3.5,4.5mm 5mm schanz screw) |  |  |  |  |
|  | 3N-Lifemed | 3.5mm, 5mm Schanz screw | Lifemed | Pakistan | 3N-Lifemed | Responsive |
|  | Shoiab Engineering & Technical Service | (3.5,4.5mm 5mm schanz screw) | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Mian Enterprises | (3.5,4.5mm 5mm schanz screw) |  | Pak Made | Alam Madix | Non Responsive |
|  | Surgiquips Lahore | (3.5,4.5mm 5mm schanz screw) |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 14 | Cancellous Screw full Range (6.5mm) Cancellous Screw full range (4mm) | Width 6.5mm fully threaded 32mm 16mm |  |  |  |  |
|  | Shoiab Engineering & Technical Service | Width 6.5mm fully threaded 32mm 16mm | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Mian Enterprises | Width 6.5mm fully threaded 32mm 16mm |  | Pak Made | Alam Madix | Non Responsive |
|  | Surgiquips Lahore | Width 6.5mm fully threaded 32mm 16mm |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 15 | Malleolar Screw | Width 4mm 30 to 80mm length |  |  |  |  |
|  | Shoiab Engineering & Technical Service | Width 4mm 30 to 80mm length | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Mian Enterprises | Width 4mm 30 to 80mm length |  | Pak Made | Alam Madix | Non Responsive |
|  | Surgiquips Lahore | Width 4mm 30 to 80mm length |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 16 | LCP-HS | 4 to 12 hole with accessories 4 to 10 hole |  |  |  |  |
|  | 3N-Lifemed | 4 to 12 hole with accessories 4 to 10 hole | Lifemed | Pakistan | 3N-Lifemed | Responsive |
|  | Shoiab Engineering & Technical Service | 4 to 12 hole with accessories 4 to 10 hole | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Mian Enterprises | 4 to 12 hole with accessories 4 to 10 hole |  | Pak Made | Alam Madix | Non Responsive |
|  | Surgiquips Lahore | 4 to 12 hole with accessories 4 to 10 hole |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 17 | PFNA | (With 9 to 12cm 10 to 40cm) |  |  |  |  |
|  | Shoiab Engineering & Technical Service | (With 9 to 12cm 10 to 40cm) | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Surgiquips Lahore | (With 9 to 12cm 10 to 40cm) |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 18 | Total Hip Replacment Prosthesis with UNCMENTED |  |  |  |  |  |
|  | Muller & Phipps Pakistan | >.Corail Stem …………………...….1 >.Pinnicale Accetabular Cup ……………………………………………….…..1 >.Cencellous Bone Screw……………...……2 >.Ultemate Metal Head……..1 >.Marathon Poly + 4 10 Deg Liner………………...…..1 | Corail Pinnacle | Depuy Synthese Johnson & Johnson | Deputy Synthese Johnson & Johnson | Responsive |
| 19 | Total Hip Replacment Prosthesis with Cemented |  |  |  |  |  |
|  | Muller & Phipps Pakistan | >.C Stem…………1 >.LPW Ogge Cup…………… ….….1 >.Ultemate Metal Head……………….….1 >.CMW III Bone Cement ( With Gentamycin) ….…2 | C-Stem & Oggi Cup | Depuy Synthese Johnson & Johnson | Deputy Synthese Johnson & Johnson | Responsive |
| 20 | Total Knee Replacement Prosthesis |  |  |  |  |  |
|  | Muller & Phipps Pakistan | >.Femoral Comonent……1 >.Tibia Component…… ..1 >.Tibia Insert …………...…….1 >.CMW III Bone Cement ( with Gentamycin)………………....1 | PFC Sigma CR & PS | Depuy Synthese Johnson & Johnson | Deputy Synthese Johnson & Johnson | Responsive |
| 21 | Austin moore prosthesis full range for hip joint. | 30 to 56mm |  |  |  |  |
|  | 3N-Lifemed | 30 to 56mm | Lifemed | Pakistan | 3N-Lifemed | Responsive |
|  | Shoiab Engineering & Technical Service | 30 to 56mm | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Mian Enterprises | 30 to 56mm |  | Pak Made | Alam Madix | Non Responsive |
|  | Surgiquips Lahore | 30 to 56mm |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 22 | Thomson prothesis full range for hip joint. | 32 to 56mm |  |  |  |  |
|  | 3N-Lifemed | 32 to 56mm | Lifemed | Pakistan | 3N-Lifemed | Responsive |
|  | Shoiab Engineering & Technical Service | 32 to 56mm | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Mian Enterprises | 32 to 56mm |  | Pak Made | Alam Madix | Non Responsive |
|  | Surgiquips Lahore | 32 to 56mm |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 23 | Bipolar Hemir Thoplasty prosthesis | 32 to 56mm |  |  |  |  |
|  | 3N-Lifemed | 32 to 56mm | Lifemed | Pakistan | 3N-Lifemed | Responsive |
|  | Shoiab Engineering & Technical Service | 32 to 56mm | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
| 24 | Recon plate for 4.5 Screws full Range | (6 to 10 holes) |  |  |  |  |
|  | Shoiab Engineering & Technical Service | (6 to 10 holes) | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Mian Enterprises | (6 to 10 holes) |  | Pak Made | Alam Madix | Non Responsive |
|  | Surgiquips Lahore | (6 to 10 holes) |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 25 | Recon plate for 3.5 Screws full Range | (6 to 10 holes) |  |  |  |  |
|  | Shoiab Engineering & Technical Service | (6 to 10 holes) | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Mian Enterprises | (6 to 10 holes) |  | Pak Made | Alam Madix | Non Responsive |
|  | Surgiquips Lahore | (6 to 10 holes) |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 26 | Narrow DCP 3.5 full Range with Accessories | 6 to 12 holes |  |  |  |  |
|  | Shoiab Engineering & Technical Service | 6 to 12 holes | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Mian Enterprises | 6 to 12 holes |  | Pak Made | Alam Madix | Non Responsive |
|  | Surgiquips Lahore | 6 to 12 holes |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 27 | Narrow DCP 4.5 full Range with Accessories | 6 to 12 holes |  |  |  |  |
|  | Shoiab Engineering & Technical Service | 6 to 12 holes | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Mian Enterprises | 6 to 12 holes |  | Pak Made | Alam Madix | Non Responsive |
|  | Surgiquips Lahore | 6 to 12 holes |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 28 | Distal Anatomical Plate Titanium (Tibia) | 6to 18 holes |  |  |  |  |
|  | Medonix Pakistan | ₵3.5 Distal Tibial Medial LCP 4,6,8,10,14 Hole,Ti L/R | Healthy- Joy | People's of Republic of China | CHANGZHOU HENGJIE MEDICAL DEVICES CO, LTD | Responsive |
|  | Shoiab Engineering & Technical Service | 6 to 18 holes | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Mian Enterprises | 6 to 18 holes |  | Pak Made | Alam Madix | Non Responsive |
|  | Surgiquips Lahore | 6 to 18 holes |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 29 | Distal Anatomical Plate Titanium (Femur) | 6to 20 holes |  |  |  |  |
|  | Medonix Pakistan | ₵4.5/ ₵5.0 Distal Femoral LCP Ti 5,7,9,11,13 Holes L/R | Healthy- Joy | People's of Republic of China | CHANGZHOU HENGJIE MEDICAL DEVICES CO, LTD | Responsive |
|  | Shoiab Engineering & Technical Service | 6to 20 holes | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Mian Enterprises | 6to 20 holes |  | Pak Made | Alam Madix | Non Responsive |
|  | Surgiquips Lahore | 6to 20 holes |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 30 | Distal Anatomical Plate Titanium (Radius) | 4 to 10 holes |  |  |  |  |
|  | Medonix Pakistan | ₵2.0/ ₵2.5 Locking Distal Radius V-3 LOC 3,6,10 H L/R Variable Angle (VA-LOC 15) | Healthy- Joy | People's of Republic of China | CHANGZHOU HENGJIE MEDICAL DEVICES CO, LTD | Responsive |
|  | Shoiab Engineering & Technical Service | 4 to 10 holes | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Mian Enterprises | 4 to 10 holes |  | Pak Made | Alam Madix | Non Responsive |
|  | Surgiquips Lahore | 4 to 10 holes |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 31 | Broad Distal Anatomical Plate Titanium ( Humrus) | 6 to 12 holes |  |  |  |  |
|  | Shoiab Engineering & Technical Service | 6 to 12 holes | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Mian Enterprises | 6 to 12 holes |  | Pak Made | Alam Madix | Non Responsive |
|  | Surgiquips Lahore | 6 to 12 holes |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 32 | Proximal Anatomical Plate titanium (tibia) | 6 to 18 holes |  |  |  |  |
|  | Shoiab Engineering & Technical Service | 6 to 18 holes | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Mian Enterprises | 6 to 18 holes |  | Pak Made | Alam Madix | Non Responsive |
|  | Surgiquips Lahore | 6 to 18 holes |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 33 | L+T buttress plate tibia for 4.5 Screws | 6 to 10 holes |  |  |  |  |
|  | Shoiab Engineering & Technical Service | 6 to 10 holes | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Mian Enterprises | 6 to 10 holes |  | Pak Made | Alam Madix | Non Responsive |
|  | Surgiquips Lahore | 6 to 10 holes |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 34 | Clover Leaf Plate for Distal Tibia | 4 to 12 hole |  |  |  |  |
|  | Shoiab Engineering & Technical Service | 4 to 12 hole | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Mian Enterprises | 4 to 12 hole |  | Pak Made | Alam Madix | Non Responsive |
|  | Surgiquips Lahore | 4 to 12 hole |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 35 | T/ Buttress Plate for Distal Radius / Elis Plate | 3.5 Screws (4 to 10 holes ) 4 to 10 hole |  |  |  |  |
|  | Shoiab Engineering & Technical Service | 3.5 Screws (4 to 10 holes ) 4 to 10 hole | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Mian Enterprises | 3.5 Screws (4 to 10 holes ) 4 to 10 hole |  | Pak Made | Alam Madix | Non Responsive |
|  | Surgiquips Lahore | 3.5 Screws (4 to 10 holes ) 4 to 10 hole |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 36 | Philos plate for Humorous titanium | 4 to 10 hole |  |  |  |  |
|  | Medonix Pakistan | ₵3.5/ ₵4.0 Proximal Humeral LCP, Ti 2,4,6,8,10 Hole | Healthy- Joy | People's of Republic of China | CHANGZHOU HENGJIE MEDICAL DEVICES CO, LTD | Responsive |
|  | Shoiab Engineering & Technical Service | 4 to 10 hole | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Mian Enterprises | 4 to 10 hole |  | Pak Made | Alam Madix | Non Responsive |
|  | Surgiquips Lahore | 4 to 10 hole |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 37 | DCP for Metacarpal and Phalanx | 2mm with 1.5mm Drill Bit Titanium 50.9.t To 11 hole |  |  |  |  |
|  | Shoiab Engineering & Technical Service | 2mm with 1.5mm Drill Bit Titanium 50.9.t To 11 hole | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Surgiquips Lahore | 2mm with 1.5mm Drill Bit Titanium 50.9.t To 11 hole |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 38 | K-nail for Femur | 5.9.10.11mm |  |  |  |  |
|  | Shoiab Engineering & Technical Service | 5.9.10.11mm | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Mian Enterprises | 5.9.10.11mm |  | Pak Made | Alam Madix | Non Responsive |
|  | Surgiquips Lahore | 5.9.10.11mm |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 39 | K-nail for Tibia | 5.9.10.11mm |  |  |  |  |
|  | Shoiab Engineering & Technical Service | 5.9.10.11mm | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Mian Enterprises | 5.9.10.11mm |  | Pak Made | Alam Madix | Non Responsive |
|  | Surgiquips Lahore | 5.9.10.11mm |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 40 | Recon Nail for Femur |  |  |  |  |  |
|  | Shoiab Engineering & Technical Service |  | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Mian Enterprises |  |  | Pak Made | Alam Madix | Non Responsive |
|  | Surgiquips Lahore |  |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 41 | Titnium Elastic Nail | (1.5,2.2,2.5, 3.0,3.5mm) Femur, tibia, humerus for children |  |  |  |  |
|  | Shoiab Engineering & Technical Service | (1.5,2.2,2.5, 3.0,3.5mm) Femur, tibia, humerus for children | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Mian Enterprises | (1.5,2,2.5, 3.0,3.5mm) Femur, tibia, humerus for children |  | Pak Made | Alam Madix | Non Responsive |
|  | Surgiquips Lahore | (2,2.5, 3.0,3.5mm) Femur, Tibia, humerus for children |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 42 | Rush Nail | 3mm to 9mm |  |  |  |  |
|  | 3N-Lifemed | 3mm to 9mm | Lifemed | Pakistan | 3N-Lifemed | Responsive |
|  | Shoiab Engineering & Technical Service | 3mm to 9mm | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Mian Enterprises | 3mm to 9mm |  | Pak Made | Alam Madix | Non Responsive |
|  | Surgiquips Lahore | 3mm to 9mm |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 43 | IIizrove External Fixator full range with accessories |  |  |  |  |  |
|  | Surgiquips Lahore | IIizrove External Fixator full range with accessories (Per Ring) |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 44 | AO Treaded rod Ex-Fix for tibia, Femur, Radius, Humrus | 5mm,4mm,3.5m. Schanz screws |  |  |  |  |
|  | Shoiab Engineering & Technical Service | 5mm,4mm,3.5m. Schanz screws | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Mian Enterprises | 5mm,4mm,3.5m. Schanz screws |  | Pak Made | Alam Madix | Non Responsive |
|  | Surgiquips Lahore | 5mm,4mm,3.5m. Schanz screws |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 45 | LCP small DCP with Accessories SS |  |  |  |  |  |
|  | Shoiab Engineering & Technical Service |  | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Mian Enterprises |  |  | Pak Made | Alam Madix | Non Responsive |
|  | Surgiquips Lahore |  |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 46 | LCP T plate 3.5 with Accessories SS |  |  |  |  |  |
|  | Shoiab Engineering & Technical Service |  | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Mian Enterprises |  |  | Pak Made | Alam Madix | Non Responsive |
|  | Surgiquips Lahore |  |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 47 | LCP Narrow and Broad DCP with Accessores SS |  |  |  |  |  |
|  | Shoiab Engineering & Technical Service |  | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Mian Enterprises |  |  | Pak Made | Alam Madix | Non Responsive |
|  | Surgiquips Lahore |  |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 48 | Condylar Buttrus Plate for Femur |  |  |  |  |  |
|  | Shoiab Engineering & Technical Service |  | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Mian Enterprises |  |  | Pak Made | Alam Madix | Non Responsive |
|  | Surgiquips Lahore |  |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 49 | Hook Plates |  |  |  |  |  |
|  | Shoiab Engineering & Technical Service |  | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Mian Enterprises |  |  | Pak Made | Alam Madix | Non Responsive |
|  | Surgiquips Lahore |  |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 50 | Titanium Transpedicular Screw with Rods 6 & 5mm |  |  |  |  |  |
|  | Medonix Pakistan | 4.5/ 5/ 6/6.5/7/7.5mm (6) Six Polyaxial Screws and (1) one rod 6.0mm x 500mm | Medonix | People's of Republic of China | Shanghai Reach Medical and Instrument Co.Ltd | Responsive |
|  | Shoiab Engineering & Technical Service | Titanium Transpedicular Screw with Rods 6 & 5mm ( 1 rod 1 screw) | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Shoiab Engineering & Technical Service | Titanium Transpedicular Screw with Rods 6 & 5mm ( 2 rod 2 screw) | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
| 51 | K-Wire 1.8mm | 24cm |  |  |  |  |
|  | 3N-Lifemed | 24cm | Lifemed | Pakistan | 3N-Lifemed | Responsive |
|  | Shoiab Engineering & Technical Service | 24cm | ATOZEE | Pakistan |  | Responsive |
|  | Mian Enterprises | 24cm |  | Pak Made | Alam Madix | Non Responsive |
|  | Surgiquips Lahore | 24cm ( ESMICO) |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 52 | A-wire | 0.5mm, 1mm, 1.5mm,2mm, 2.5mm |  |  |  |  |
|  | 3N-Lifemed | 0.5mm,1mm, 1.5mm, 2mm, 2.5mm | Lifemed | Pakistan | 3N-Lifemed | Responsive |
|  | Shoiab Engineering & Technical Service | 0.5mm, 1mm, 1.5mm,2mm, 2.5mm | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Mian Enterprises | 0.5mm, 1mm, 1.5mm,2mm, 2.5mm |  | Pak Made | Alam Madix | Non Responsive |
|  | Surgiquips Lahore | 0.5mm, 1mm, 1.5mm,2mm, 2.5mm ( ESMICO) |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 53 | Herbert Screw ss | 10 to 30cm |  |  |  |  |
|  | Shoiab Engineering & Technical Service | 10 to 30cm | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Mian Enterprises | 10 to 30cm |  | Pak Made | Alam Madix | Non Responsive |
|  | Surgiquips Lahore | 10 to 30cm |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 54 | Interference Screw Full Range (2 for each case) Bioabsorbable | 20 to 46mm width 6 to 10mm |  |  |  |  |
|  | Surgiquips Lahore | 20 to 46mm width 6 to 10mm ( ESMICO) |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 55 | Bone Cement |  |  |  |  |  |
|  | Shoiab Engineering & Technical Service |  | ATOZEE | Pakistan | Shoiab Engineering | Non Responsive |
|  | Mian Enterprises |  |  | Pak Made | Alam Madix | Non Responsive |
| 56 | Spine Cage Cervical, Dorsal, Lumber | All sizes, Titanium |  |  |  |  |
|  | Shoiab Engineering & Technical Service | All sizes, Titanium | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Mian Enterprises |  |  | Pak Made | Alam Madix | Non Responsive |
|  | Surgiquips Lahore | Lumber Titanium |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 57 | Bone Substitute |  |  |  |  |  |
|  | Mian Enterprises |  |  | Pak Made | Alam Madix | Non Responsive |
| 58 | BMPS | No Offer |  |  |  |  |
| 59 | Bowi Dick Test Pack Sheets |  |  |  |  |  |
|  | Cardiac Care | 22 x 28cm (50's) | Bowi Dick Type Test Sheets | USA | Crosstex SPS Medical | Non Responsive |
| 60 | Jamo Filter | No Offer |  |  |  |  |
| 61 | Thermal Paper Rolls Sterilizer and Washer | No Offer |  |  |  |  |
| 62 | Biological Indicators |  |  |  |  |  |
|  | Cardiac Care | Steam Bl (100's) | Sporview, Self Contained, Steam Bl | USA | Crosstex SPS Medical | Non Responsive |
| 63 | Distal Fibular Anatomical Plate Full Range With Accessories |  |  |  |  |  |
|  | Shoiab Engineering & Technical Service |  | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Surgiquips Lahore |  |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 64 | Stepcut Schaz Screws |  |  |  |  |  |
|  | Shoiab Engineering & Technical Service |  | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Mian Enterprises |  |  | Pak Made | Alam Madix | Non Responsive |
|  | Surgiquips Lahore |  |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 65 | T-clamp for AO Fixtor |  |  |  |  |  |
|  | Mian Enterprises |  |  | Pak Made | Alam Madix | Non Responsive |
|  | Surgiquips Lahore |  |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 66 | Mini Fixtor |  |  |  |  |  |
|  | Mian Enterprises |  |  | Pak Made | Alam Madix | Non Responsive |
|  | Surgiquips Lahore |  |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 67 | Proximal Fermoral Anatomical Plate Full Range With Accessories |  |  |  |  |  |
|  | Shoiab Engineering & Technical Service |  | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Mian Enterprises |  |  | Pak Made | Alam Madix | Non Responsive |
|  | Surgiquips Lahore |  |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 68 | Proximal Radius Anatomical Plate ( Radial Head) |  |  |  |  |  |
|  | Medonix Pakistan | Ø2.0/ Ø2.5 Proximal Radius Locking Plate 10 Hole (Type I) L/R (Radial Head) with five (5) 2.5mm LCP Screws | Healthy- Joy | People's of Republic of China | CHANGZHOU HENGJIE MEDICAL DEVICES CO, LTD | Responsive |
|  | Shoiab Engineering & Technical Service |  | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Mian Enterprises |  |  | Pak Made | Alam Madix | Non Responsive |
|  | Surgiquips Lahore |  |  | Pakistan | Esmico Trasing Co. | Non Responsive |
| 69 | Calanial Anatomical Plate | head |  |  |  |  |
|  | Medonix Pakistan | ₵3.5 Calcaneus LOC (Type II) small L/R wit five (5) 3.5mm LCP Screw |  |  |  | Responsive |
|  | Shoiab Engineering & Technical Service |  | ATOZEE | Pakistan | Shoiab Engineering | Responsive |
|  | Mian Enterprises |  |  | Pak Made | Alam Madix | Non Responsive |
|  | Surgiquips Lahore |  |  | Pakistan |  | Non Responsive |
| 70 | Arthroscopy and Accessories | No Offer |  |  |  |  |

Detail of Ophthalmological implants is as under;

| T.E | Name of Firm | Quoted Specifications | Brand Name | Origin | Manufacturer | Remarks |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Cassette For Vitrectomy Disposable | No Offer |  |  |  | No Offer |
| 2 | Endocautry (Lead With Forcep) Dispoable | 23 G |  |  |  |  |
|  | M/s Optic MED | Omesis Endodiathermy Probe 23 G without Lead & Forceps |  | Turkey | Omesis Medikal | Responsive |
| 3 | Endocautry (Lead With Forcep) Dispoable | 25 G |  |  |  |  |
|  | M/s Optic MED | Omesis Endodiathermy Probe 25 G without Lead & Forceps |  | Turkey | Omesis Medikal | Responsive |
| 4 | Evisceration Implant | Small, Medium, Large |  |  |  |  |
|  | M/s The Holy Green International | Small, Medium, Large | FCI | India | Excellent Hi-Care | Non Responsive |
|  | M/s Mubarik Vision | Small, Med,Large (50 Each) Silicon Orbital Implant 12mm/13mm/14mm/15mm/16mm/17mm/18mm/19mm/20mm/22mm | FCI | France | FCI | Responsive |
|  | M/s Care International | Small/Medium/Large | Eye Prothesis | Made in China | M/s Henan Universal lOL R&D Co | Non Responsive |
| 5 | Conformer/Scleral Shell | Small, Medium, Large |  |  |  |  |
|  | M/s The Holy Green International | Small, Medium, Large | FCI | India | Excellent Hi-Care | Non Responsive |
|  | M/s Mubarik Vision | Small, Med,Large (125 Each)Rigid Conformers- 20mm/23mm/26mm | FCI | France | FCI | Responsive |
|  | M/s Care International | Small/Medium/Large | Eye Prothesis | Made in China | M/s Henan Universal lOL R&D Co | Non Responsive |
| 6 | Rigid PC IOL 5.5 mm | 0 D-17 D |  |  |  |  |
|  | M/s The Holy Green International | PMMA 65H Single Piece UV Blocking Posterior Chamber IOL, Optic diameter = 5.25 mm, Overall length = 12.0 mm | MacLens | Germany | Truviz Ophthalmic | Non Responsive |
|  | M/s Mubarik Vision | 8D-17D 5 Each FH-105 | Fred Hollows | Eitrea | Fred Hollows | Responsive |
|  | M/s Sorabjee Patel & Co. | 0 D-17 D | LIMB IOL | USA | LIMBUS Int. | Non Responsive |
| 7 | Rigid PC IOL 5.5 mm | 18D, 18.5 D, 19D, 19.5 D, 20D, 20.5 D, 21D, 21.5D,22D (125 EACH) |  |  |  |  |
|  | M/s The Holy Green International | PMMA 65H Single Piece UV Blocking Posterior Chamber IOL, Optic diameter = 5.25 mm, Overall length = 12.0 mm | MacLens | Germany | Truviz Ophthalmic | Non Responsive |
|  | M/s Mubarik Vision | 18D,18.5D,19D,19.5D,20D,20.5D21D,21.5D,22D (125 Each) FH-105 | Fred Hollows | Eitrea | Fred Hollows | Responsive |
|  | M/s Sorabjee Patel & Co. | 18 D-18.5D, 19D, 20D, 20.5D, 21D, 21.5D and 22D 125 each | LIMB IOL | USA | LIMBUS Int. | Non Responsive |
| 8 | Rigid PC IOL 5.5 mm | 23D - 35D |  |  |  |  |
|  | M/s The Holy Green International | PMMA 65H Single Piece UV Blocking Posterior Chamber IOL, Optic diameter = 5.25 mm, Overall length = 12.0 mm | MacLens | Germany | Truviz Ophthalmic | Non Responsive |
|  | M/s Mubarik Vision | 23D-30D (5 Each) FH-105 | Fred Hollows | Eitrea | Fred Hollows | Responsive |
|  | M/s Sorabjee Patel & Co. | 23D -35D (5 each) | LIMB IOL | USA | LIMBUS Int. | Non Responsive |
| 9 | Rigid PC IOL 6.0mm/6.5mm | 0D-17D |  |  |  |  |
|  | M/s The Holy Green International | PMMA 65HSQAspheric Single Piece UV Blocking Posterior Chamber IOL, Optic diameter = 6.5 mm, Overall length = 13.0 mm with two dialing holes | MacLens | Germany | Truviz Ophthalmic | Non Responsive |
|  | M/s Mubarik Vision | 8D-17D (5 Each) FH-106 | Fred Hollows | Eitrea | Fred Hollows | Responsive |
|  | M/s Sorabjee Patel & Co. | 0D -17D (5 each) | LIMB IOL | USA | LIMBUS Int. | Non Responsive |
| 10 | Rigid PC IOL 6.0mm/6.5mm | 18D, 18.5 D, 19D, 19.5 D, 20D, 20.5 D, 21D, 21.5D,22D |  |  |  |  |
|  | M/s The Holy Green International | PMMA 65HSQ Aspheric Single Piece UV Blocking Posterior Chamber IOL, Optic diameter = 6.5 mm, Overall length = 13.0 mm with two dialing holes | MacLens | Germany | Truviz Ophthalmic | Non Responsive |
|  | M/s Mubarik Vision | 18D,18.5D,19D,19.5D,20D,20.5D21D,21.5D,22D (125 Each) FH-106 | Fred Hollows | Eitrea | Fred Hollows | Responsive |
|  | M/s Sorabjee Patel & Co. | 18 D-18.5D, 19D, 20D, 20.5D, 21D, 21.5D and 22D 125 each | LIMB IOL | USA | LIMBUS Int. | Non Responsive |
| 11 | Rigid PC IOL 6.0mm/6.5mm | 23D - 35D |  |  |  |  |
|  | M/s The Holy Green International | PMMA 65HSQ Aspheric Single Piece UV Blocking Posterior Chamber IOL, Optic diameter = 6.5 mm, Overall length = 13.0 mm with two dialing holes | MacLens | Germany | Truviz Ophthalmic | Non Responsive |
|  | M/s Mubarik Vision | 23D-30D (5 Each) FH-106 | Fred Hollows | Eitrea | Fred Hollows | Responsive |
|  | M/s Sorabjee Patel & Co. | 23D -35D (5 each) | LIMB IOL | USA | LIMBUS Int. | Non Responsive |
| 12 | Foldable IOL | 23D - 35D |  |  |  |  |
|  | M/s The Holy Green International | MacPhobic Pre loaded Hydrophobic with UV Blocking yellow Aspheric IOL | Mac phobic | Germany | Bemedis E.K | Non Responsive |
|  | M/s Mubarik Vision | 23D-30D (5 Each)I-STREAM ASPHERIC Hydrophobic | Non Pre-LoadedI-STREAM ASPHERIC Hydrophobic | Italy | MD Tech /Italy | Responsive |
|  | M/s Sorabjee Patel & Co. | 23D -30D | Iriflex | Germany/Pak | IRIS | Non Responsive |
|  | M/s Business Medical International | AL 25B-UVA 12.50mm Optic 6.0 mm Modified C Co- Aspheric " A" Constant: 118.0 AC Depth: 4.65+4 to be base power +23D-30D | Suncoast Intraocular lens | USA | EyeKon Medical Inc | Non Responsive |
| 13 | Scleral Fixation Lens | 0 D-17 D (5 EACH) |  |  |  |  |
|  | M/s Sorabjee Patel & Co. | 0D -17D (5 each) | LIMB IOL | USA | LIMBUS Int. | Non Responsive |
|  | M/s Business Medical International | ZY65B-2UV 12.50mm Optic 6.5 mm Modified C Co- Convex Catenary 3.5 degree 2 Suture Holes 10.00-30.00 : " A" Constant: 118.2 AC Depth: 4.9 | Suncoast Intraocular lens | USA | EyeKon Medical Inc | Non Responsive |
| 14 | Scleral Fixation Lens | 18D, 18.5 D, 19D, 19.5 D, 20D, 20.5 D, 21D, 21.5D,22D |  |  |  |  |
|  | M/s The Holy Green International | PMMA Single Piece UV Absorbing with Fixation Holes Posterior Chamber IOL ,Optic diameter 6.5mm,overall length =13.5mm | Neo Eye | Indonesia | PT Rohto Laboratories | Responsive |
|  | M/s Sorabjee Patel & Co. | 18D, 18.5D, 19D, 19.5D, 20D, 20.5D, 21D, 21.5D, 22D | LIMB IOL | USA | LIMBUS Int. | Non Responsive |
|  | M/s Business Medical International | ZY65B-2UB 12.50mm Optic 6.5 mm Modified C Co- Convex Catenary 3.5 degree 2Holes 10.00-30.00 : " A" Constant: 118.2 AC Depth: 4.9 | Suncoast Intraocular lens | USA | EyeKon Medical Inc | Non Responsive |
| 15 | Scleral Fixation Lens | 23D - 35D |  |  |  |  |
|  | M/s Sorabjee Patel & Co. | 23D -30D | LIMB IOL | USA | LIMBUS Int. | Non Responsive |
| 16 | Capsular Tension Ring CTR |  |  |  |  |  |
|  | M/s The Holy Green International | PMMA Single Piece with UV absorbing Capsular Tension Ring With two Eyelets 12.0mm/10.0mm | Mac Lens | Germany | Truviz Ophthalmic | Non Responsive |
|  | M/s Sorabjee Patel & Co. |  | LIMB IOL | USA | LIMBUS Int. | Non Responsive |
| 17 | Iris Hooks |  |  |  |  |  |
|  | M/s The Holy Green International | Pack Of Five Iris Retractor | Mac | Germany | Truviz Ophthalmic | Non Responsive |
|  | M/s Mubarik Vision | Iris Hook (Autoclave) | FCI | France | FCI | Responsive |
|  | M/s Optic MED | Reusable Iris Retractors, 1 set of 6 retractors |  | Optalmed LLC | U.S.A | Responsive |
| 18 | Crescent Knife disposable | Angled 2.0 mm |  |  |  |  |
|  | M/s The Holy Green International | Ophthalmic Micro Surgery Knife Sidapharm | Sidapharm | Greece | Sidapharm | Non Responsive |
|  | M/s Mubarik Vision | 2.00mm Angled Bevel up | Sharpoint | Mexico/U.S.A | Surgical Specialities | Responsive |
|  | M/s Sorabjee Patel & Co. | Angle 2.0mm | KIA | Japan | KIA Int. | Non Responsive |
|  | M/s Business Medical International | Blade Width (2.0mm) Crescent Bevel Up | Mani Opthalmic Knife | Vietnam/Japan | MANI.INC | Non Responsive |
| 19 | Inj. Na Hyaluronate 10mg/ml | Visco Elastic |  |  |  |  |
|  | M/s Mubarik Vision | Visco Elastic | Albomed Pe-Ha-Luron 1.4% | Germany | Albomed | Responsive |
|  | M/s Sorabjee Patel & Co. | Avisco Elastic | Ophteisbio | England | Rayner | Non Responsive |
| 20 | HydroxyPropyl Methyl Cellulose Solution | Visco Elastic 2% |  |  |  |  |
|  | M/s The Holy Green International | Sida HPMC Gel 2% (Pre Filled Glass Syringe) Sida pharm-Greece | Sida HPMC | Greece | Sidapharm | Responsive |
|  | M/s Mubarik Vision | Visco Elastic 2% | Albomed Pe-Ha-Visco 2.4% | Germany | Albomed | Responsive |
|  | M/s Sorabjee Patel & Co. | Avisco Elastic 2% | Care Gel | Imported | Care Int. | Non Responsive |
| 21 | Scleral Fixation Lens |  |  |  |  |  |
|  | M/s Sorabjee Patel & Co. | FP7/S3 | Ahmad Glaucoma Valve | USA | New World Medical | Non Responsive |
|  | M/s Optic MED | Ahmad Glaucoma Valve Model FP7 / Model FP8 / |  | New world Medical | U.S.A | Responsive |
| 22 | Corneal Trephine Blades with Suction Cup | 6.0mm, 6.5mm, 6.75mm, 7.0mm, 7.25mm, 7.50mm, 7.75mm, 8.0mm, 8.25mm, 8.5mm, 8.75mm, 9.0mm, 9.5mm, 16.0mm |  |  |  |  |
|  | M/s Mubarik Vision | 6.0mm,6.5mm,6.75mm,7.0mm,7.25mm,7.50mm,7.75mm,8.0mm,8.25mm,8.5mm,8.75mm,9.0mm,9.5mm,16.0mm Vacuum Trephine-11840 + Donor Punch Set-11850 | Surgical Specialties | Mexico/U.S.A | Surgical Specialities | Non Responsive |
|  | M/s Optic MED | Surgistar Long Trephine 6.0mm, 6.5mm, 6.75mn, 7.0mm, 7.25mm, 7.50mm, 7.75mm, 8.0mm | Surgistar Inc | USA | Surgistar U.S.A | Responsive |